## Overview
|  | Inverter Cnt | Inverter Family | Info Level | Battery
Planned / reasonable configurations | 1_inv_SH_basic | 1 | SG | basic | no
| 1_inv_SG_extended | 1 | SG | extended | no
| 1_inv_SH_basic | 1 | SH | basic | no
| 1_inv_SH_basic_battery | 1 | SH | basic | generic
| 1_inv_SH_basic_battery_sungrow | 1 | SH | basic | sungrow | Todo!
| 1_inv_SH_extended | 1 | SH | extended | no
| 1_inv_SH_extended_battery | 1 | SH | extended | generic
| 1_inv_SH_extended_battery_sungrow | 1 | SH | extended | sungrow | Todo!
| 2_inv_SH_extended | 2 | SH | extended | no | Todo!
| 2_inv_SH_extended_battery | 2 | SH | extended | generic | Todo!
| 2_inv_SH_extended_battery_sungrow | 2 | SH | extended | sungrow | Todo!
MQTT stuff can be added as extra file and will require extended info level

## function list
|  | 1 inverter |  |  |  | additionals for 2nd inverter
Basic (SH) | Basic (SG) | Basic (common SH&SG) | Extended | generic battery | Sungrow battery | basic | extended
Sensors
|  | SG1 Device type code | SG1 Daily PV generation & battery discharge | SG1 BDC rated power |  | SG2 Device type code
|  | SG1 Inverter temperature | SG1 Total PV generation & battery discharge | SG1 BMS max. charging current |  | SG2 Inverter temperature
|  | SG1 MPPT1 voltage | SG1 Phase A voltage | SG1 BMS max. discharging current |  | SG2 MPPT1 voltage
|  | SG1 MPPT1 current | SG1 Phase B voltage | SG1 Total backup power |  | SG2 MPPT1 current
|  | SG1 MPPT2 voltage | SG1 Phase C voltage | SG1 Backup phase A power |  | SG2 MPPT2 voltage
|  | SG1 MPPT2 current | SG1 Grid frequency | SG1 Backup phase B power |  | SG2 MPPT2 current
|  | SG1 Total DC power | SG1 Reactive power | SG1 Backup phase C power |  | SG2 Total DC power
SG1 System state | SG1 System state |  | SG1 Power factor | SG1 Daily battery charge from PV |  | SG2 System state
SG1 Running state | SG1 Running state |  | SG1 Meter active power raw | SG1 Total battery charge from PV |  | SG2 Running state
SG1 Daily PV generation | SG1 Daily PV generation |  | SG1 Meter phase A active power raw | SG1 Battery voltage |  | SG2 Daily PV generation
SG1 Total PV generation | SG1 Total PV generation |  | SG1 Meter phase B active power raw | SG1 Battery current |  | SG2 Total PV generation
|  | SG1 Daily exported energy from PV | SG1 Meter phase C active power raw | SG1 Battery power raw
|  | SG1 Total exported energy from PV | SG1 Monthly PV generation (01 January) …12 | SG1 Battery level
|  | SG1 Load power | SG1 Yearly PV generation (2019) … 2029 | SG1 Battery state of health
|  | SG1 Export power raw | SG1 Monthly export (01 January) …12 | SG1 Battery temperature
|  | SG1 Daily direct energy consumption | SG1 Yearly export (2019) …2028 | SG1 Daily battery discharge
|  | SG1 Total direct energy consumption | SG1 Phase A current | SG1 Total battery discharge
|  | SG1 Daily imported energy | SG1 Phase B current | SG1 Daily battery charge
|  | SG1 Total imported energy | SG1 Phase C current | SG1 Total battery charge
|  | SG1 Daily exported energy | SG1 Total active power
SG1 Total exported energy
Sensors cont. (holding registers)
|  | SG1 Inverter start stop |  | SG1 Battery forced charge discharge mode raw
|  | SG1 EMS mode selection raw |  | SG1 Battery forced charge discharge power
SG1 Max SoC
SG1 Min SoC
SG1 Export power limit
SG1 Export power limit mode raw
SG1 Reserved SoC for backup
SG1 Battery max charge power
SG1 Battery max discharge power
SG1 Battery capacity
SG1 Battery charging start power
SG1 Battery discharging start power
Template Binary Sensors
SG1 PV generating | SG1 PV generating |  |  | SG1 Battery charging |  | SG2 PV generating
SG1 Exporting power | SG1 Exporting power |  |  | SG1 Battery discharging
SG1 Importing power | SG1 Importing power
Template Sensors
|  | SG1 MPPT1 power | SG1 Phase A power | SG1 Battery forced charge discharge mode |  | SG2 MPPT1 power
|  | SG1 MPPT2 power | SG1 Phase B power | SG1 Signed battery power |  | SG2 MPPT2 power
|  | SG1 Inverter state | SG1 Phase C power | SG1 Battery charging power |  | SG2 Inverter state
|  | SG1 Device type | SG1 Meter active power | SG1 Battery discharging power |  | SG2 Device type
|  | SG1 Export power limit mode | SG1 Meter Phase A active power | SG1 Battery level (nominal)
|  | SG1 EMS mode selection | SG1 Meter Phase B active power | SG1 Battery charge (nominal) |  | SG Daily PV generation
|  | SG1 Import power | SG1 Meter Phase C active power | SG1 Battery charge |  | SG Total PV generation
|  | SG1 Export power |  |  |  | hier weiter
|  |  | SG1 Monthly PV generation (current) |  |  | SG Total DC power
|  | SG1 Total Load Energy | SG1 Yearly PV generation (current) |  |  | SG Total Load Energy
|  |  | SG1 Monthly export (current) |  |  | SG Load
SG1 Yearly export (current)
Input Number
|  | SG1 Set export power limit |  | SG1 Set min SoC
SG1 Set max SoC
SG1 Set reserved SoC for backup
SG1 Set forced charge discharge power
SG1 Set max battery charge power
SG1 Set max battery discharge power
SG1 Set battery charging start power
SG1 Set battery discharging start power
Input Select
|  | SG1 Inverter mode |  | SG1 Battery forced charge discharge mode |  | SG2 Inverter mode
SG1 EMS mode
SG1 Export power limit mode
Automations
|  | SG1 Set run mode reg |  | SG1 Set max SoC reg |  | SG2 Set run mode reg
|  | SG1 Set EMS mode reg |  | SG1 Set min SoC reg
|  | SG1 Export power limit mode reg |  | SG1 Set reserved soc for backup reg
|  | SG1 Export power limit reg |  | SG1 Set battery forced charge discharge mode reg
SG1 Set battery forced charge discharge power reg
SG1 Set battery max charge power reg
SG1 Set battery max discharge power reg
SG1 Set battery charging start power reg
SG1 Set battery discharging start power reg

## SG vs Sh
from basti242
https://docs.google.com/spreadsheets/d/10RuHsxN1QuMUnUIoBmD1iHMF4eghcb_eGIz2qwunh40/edit#gid=425621383
https://community.home-assistant.io/t/sungrow-sh10-rt-modbus-integration/361356/117?u=mkai
| System_state | 12999 | 5037 | 0x243D | SG3.0RT
| Running state | 13000 | 5038 | 0x243E | SG4.0RT
| Daily PV generation | 13001 | 5002 | 0x2430 | SG5.0RT
| Total PV generation | 13002 | 5003 | 0x2431 | SG6.0RT
|  |  |  | 0x243C | SG7.0RT
|  |  |  | 0x2432 | SG8.0RT
|  |  |  | 0x2433 | SG10RT
|  |  |  | 0x2434 | SG12RT
|  |  |  | 0x2435 | SG15RT
|  |  |  | 0x2436 | SG17RT
|  |  |  | 0x2437 | SG20RT