## Overview
|  | Inverter Cnt | Inverter Family | Info Level | Battery
Planned / reasonable configurations | 1_inv_SH_basic | 1 | SG | basic | no
| 1_inv_SG_extended | 1 | SG | extended | no
| 1_inv_SH_basic | 1 | SH | basic | no
| 1_inv_SH_basic_battery | 1 | SH | basic | generic
| 1_inv_SH_basic_battery_sungrow | 1 | SH | basic | sungrow | Todo!
| 1_inv_SH_extended | 1 | SH | extended | no
| 1_inv_SH_extended_battery | 1 | SH | extended | generic
| 1_inv_SH_extended_battery_sungrow | 1 | SH | extended | sungrow | Todo!
| 2_inv_SH_extended | 2 | SH | extended | no | Todo!
| 2_inv_SH_extended_battery | 2 | SH | extended | generic | Todo!
| 2_inv_SH_extended_battery_sungrow | 2 | SH | extended | sungrow | Todo!
MQTT stuff can be added as extra file and will require extended info level

## function list
| Basic | Extended | Battery generic
Sensors
| Device type code | Daily PV generation & battery discharge | BDC rated power
Highlighted Sensors are also for second inverters | Inverter temperature | Total PV generation & battery discharge | BMS max. charging current
| MPPT1 voltage | Phase A voltage | BMS max. discharging current
| MPPT1 current | Phase B voltage | Total backup power
red registers differ between SG and SH | MPPT2 voltage | Phase C voltage | Backup phase A power
| MPPT2 current | Grid frequency | Backup phase B power
| Total DC power | Reactive power | Backup phase C power
| System state | Power factor | Daily battery charge from PV
| Running state | Meter active power raw | Total battery charge from PV
| Daily PV generation | Meter phase A active power raw | Battery voltage
| Total PV generation | Meter phase B active power raw | Battery current
| Daily exported energy from PV | Meter phase C active power raw | Battery power raw
| Total exported energy from PV | Monthly PV generation (01 January) …12 | Battery level
| Load power | Yearly PV generation (2019) … 2029 | Battery state of health
| Export power raw | Monthly export (01 January) …12 | Battery temperature
| Daily direct energy consumption | Yearly Export (2019) …2028 | Daily battery discharge
| Total direct energy consumption | Phase A current | Total battery discharge
| Daily imported energy | Phase B current | Daily battery charge
| Total imported energy | Phase C current | Total battery charge
| Daily exported energy | Total active power
Total exported energy
Sensors cont. (Holding Registers)
| Inverter start stop |  | Battery forced charge discharge mode raw
| EMS mode selection raw |  | Battery forced charge discharge power
Max SoC
Min SoC
Export power limit
Export power limit mode raw
Reserved SoC for backup
Battery max charge power
Battery max discharge power
Battery capacity
Battery charging start power
Battery discharging start power
Template Binary Sensors
| PV generating |  | Battery charging
| Exporting power |  | Battery discharging
Importing power
Template Sensors
| MPPT1 power | Phase A power | Battery forced charge discharge mode
| MPPT2 power | Phase B power | Signed battery power
| Inverter state | Phase C power | Battery charging power
| Device type | Meter active power | Battery discharging power
| Export power limit mode | Meter Phase A active power | Battery level (nominal)
| EMS mode selection | Meter Phase B active power | Battery charge (nominal)
| Import power | Meter Phase C active power | Battery charge
Export power
| Total Load Energy (ToDo) | Monthly PV generation (current)
Yearly PV generation (current)
Monthly export (current)
Yearly export (current)
Input Number
| export_power_limit_mode |  | set min SoC
| export_power_limit |  | set max SoC
reserved_soc_for_backup
battery_forced_charge_discharge_power
| export_power_limit_mode |  | battery_max_charge_power
battery_max_discharge_power
battery_charging_start_power
battery_discharging_start_power
battery_forced_charge_discharge_mode
Input Select
SG1 Inverter mode
ems_mode
Automations
| set_run_mode_reg |  | set_max_soc_reg
| set_ems_mode_reg |  | set_min_soc_reg
| set_export_power_limit_mode_reg |  | set_reserved_soc_for_backup_reg
| set_export_power_limit_reg |  | set_battery_forced_charge_discharge_mode_reg
set_battery_forced_charge_discharge_power_reg
set_battery_max_charge_power_reg
set_battery_max_discharge_power_reg
set_battery_charging_start_power_reg
set battery discharging start power reg

## SG vs Sh
from basti242
https://docs.google.com/spreadsheets/d/10RuHsxN1QuMUnUIoBmD1iHMF4eghcb_eGIz2qwunh40/edit#gid=425621383
https://community.home-assistant.io/t/sungrow-sh10-rt-modbus-integration/361356/117?u=mkai
| System_state | 12999 | 5037 | 0x243D | SG3.0RT
| Running state | 13000 | 5038 | 0x243E | SG4.0RT
| Daily PV generation | 13001 | 5002 | 0x2430 | SG5.0RT
| Total PV generation | 13002 | 5003 | 0x2431 | SG6.0RT
|  |  |  | 0x243C | SG7.0RT
|  |  |  | 0x2432 | SG8.0RT
|  |  |  | 0x2433 | SG10RT
|  |  |  | 0x2434 | SG12RT
|  |  |  | 0x2435 | SG15RT
|  |  |  | 0x2436 | SG17RT
|  |  |  | 0x2437 | SG20RT